## Radon Template
Radon Calculation Template
V4.4 (21 Mar 2023)
[5 empty] | US/SI Units | US
Electret | Start | Start | End | End | Total Days | Initial | Final | EIC Configuration Constants |  |  | EIC | EIC | Elevation |  | γ | Radon in Air | ± | Error % | Error 1 | Error 2 | Error 3 | Total Error
Serial Number | Date | Time | Date | Time | Exposure | Voltage | Voltage | A | B | G | CF | Config | Feet | CF | µR/h | pCi/L | pCi/L |  | (System) | (Reading) | (Gamma) | Confirmation | Valid Data? |  |  | IVD
SAA001 | 2023-03-01 | 14:30 | 2023-03-03 | 15:05 | 2.0243 | 700 | 589 | 0.31447 | 0.26062 | 0.087 | 2.0003 | SST | 300 | 1 | 10 | 26.5 | 1.3702 | 5.17% | 5% | 1.261% | 0.3774% | 5.17% | 1 | +RnC? | 26.5096 | 0.066667
SAA002 | 2023-03-01 | 14:30 | 2023-03-03 | 15:05 | 2.0243 | 703 | 594 | 0.31447 | 0.26062 | 0.087 | 2.0019 | SST | 300 | 1 | 10 | 26 | 1.3459 | 5.177% | 5% | 1.284% | 0.3846% | 5.177% | 1 | +RnC? | 25.9941 | 0.066667
[14 empty] | Average Radon: |  | 26.3 | [6 empty] | 1
Instructions: | [14 empty] | RPD: | 1.901%
1) If necessary, select either US or SI measurement units from the dropdown box by clicking on the blue cell to the right of “US/SI Units”.
2) Enter in the required data indicated by the blue cells (such as dates, times, voltages, etc.)
3) Select the E-PERM configuration from the dropdown box.
4) Double-check your elevation and background gamma, especially if switching measurement units between US and SI.

## Mass Template
Radon Calculation Mass Template
V4.4 (21 Mar 2023)
[6 empty] | US/SI Units | US
Electret | Location | Start | Start | End | End | Total Days | Initial | Final | EIC Configuration Constants |  |  | EIC | EIC | Elevation |  | γ | Radon in Air | ± | Error %
Serial Number |  | Date | Time | Date | Time | Exposure | Voltage | Voltage | A | B | G | CF | Config | Feet | CF | µR/h | pCi/L | pCi/L |  | Valid Data |  |  | IVD
SAA001 | Basement | 2023-03-01 | 9:35 | 2023-03-03 | 16:00 | 2.2674 | 697 | 680 | 0.31447 | 0.26062 | 0.087 | 2.0175 | SST | 300 | 1 | 6.2 | 3.1 | 0.31496 | 10.16% | 1 | +RnC? | 3.1439 | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667
[9 empty] | 0 | 0 | 0 | [8 empty] | 0 | +RnC? | Review | 0.066667